## GUI to MCU
Command Name |  | Command ID (dec.) | Input Parameters | Return Parameters | Description | Example
Start measurement sequence |  | 1 | x | x | Starts the measurement sequence programmed in the firmware | x
Stop measurement sequence |  | 0 | x | x | Stops the measurement if running in countinuous mode | x
Enter parameter configuration |  | 5 | x | x | Starts a configuration of parameters used in the measuring sequence; Parameters include voltage level, measurement time, frequency | port.sent( 5 );
sub commands : | Set Voltage [mV] | 100 | value (4 bytes) | success bool (1 byte): 0 if cmd ID not recognized | Set the value of the voltage level | port.sent( 100 ); // choose param. Type port.sent( 65000 ); // set the value
| Set Duration [us] | 101 | value (4 bytes) | success bool (1 byte): 0 if cmd ID not recognized | Set the value of the measurement duration
| Exit parameter configuration | 6 | x | 1 if successfully exited config 0 if cmd ID not recognized | Stops a configuration of parameters
The sub-commands & Input Parameters should be sent separately after the cmd ID,
like so:
port.sent( 5 ); // enter config
port.sent( 100 ); // choose param. type
port.sent( 65000 ); // set the value (2bytes)
...the reason is that the is reading in polling mode, so it is expecting a fixed amount of bytes for each read()
BUT ! for safest approach, wait for a confirmation cmd (return value) after each port.sent() ...?
The sub-commands & Input Parameters should be sent separately after the cmd ID,
like so:
port.sent( 5 ); // enter config
port.sent( 100 ); // choose param. type
port.sent( 65000 ); // set the value (2bytes)
...the reason is that the 𝜇𝐶 is reading in polling mode, so it is expecting a fixed amount of bytes for each read()
BUT ! for safest approach, wait for a confirmation cmd (return value) after each port.sent() ...?